Chromatographic determination of amino acids

Dome K. V.1,2

Student, 5th year of Specialist Degree program

1 Novosibirsk state University

Department of Natural Sciences, Novosibirsk, Russia

2Institute of solid state chemistry and mechanochemistry SB RAS,

Novosibirsk, Russia

E–mail: domekarina@yandex.ru

Currently special foods with enhanced bioavailability of important nutrients are of great interest. These foods allow to increase the overall level of consumption of proteins, dietary fiber, vitamins, etc. [1, 2]. Special nutrition products based on low molecular weight oligopeptides and free amino acids are widely used. It is necessary to use methods of qualitative and quantitative determination of the mixture components to optimise the compound of foods [3]. High performance liquid chromatography (HPLC) in gradient elution mode is a promising method for the determination of free amino acids and polypeptides with low molecular weight [3].

The aims of this work are development of the method of chromatographic qualitative and quantitative determination of amino acids and its adaptation for the analysis of processed products of protein raw materials.

Seventeen proteinogenic amino acids were selected as analytes. Derivatisation is a method used in chemistry which transforms analytes molecules into derivatives of similar structure. Identification of amino-acids by UV-detection requires a stage of derivaisation due to absence of chromophore groups in analyte molecules. Phenylisothiocyanate (PITC) is a high-reactivity reagent for the pre-column quantitative derivatization of amino acids by reverse-phased HPLC. During pred-column derivatisation a procedure was developed for obtaining phenylthiocarbomoyl derivatives of amino acids which are characterized by more stability [4].

Figure 1. Derivatisation of amino acids by phenylisothiocyanate.

The optimal gradient elution conditions were found to achieve the satisfactory peak resolution (RS < 0.5). Calibration curves were described for all analytes for the quantitative determination of amino acid content.

The developed method of analysis is suitable for determining the qualitative and quantitative amino acid composition in protein hydrolysates. The use of amino acid analysis made it possible to obtain data on the kinetics of acid hydrolysis of proteins. In the future this method of analysis will be adapted to the study of processed products of plant raw materials.

The research was funded within the state assignment to ISSCM SB RAS (project No. АААА-А17-117030310279-0).

References

1. Rastogi H., Bhatia S. Future prospectives for enzyme technologies in the food industry // Enzymes in food biotechnology. Academic Press. 2019. P. 845-860.

2. Birch C.S., Bonwick, G.A. Ensuring the future of functional foods // International Journal of Food Science & Technology. 2018. P. 1467–1485.

3. Chaves-Peña P., , de la Coba F., Figueroa F. L., Korbee N. Quantitative and Qualitative HPLC Analysis of Mycosporine-Like Amino Acids Extracted in Distilled Water for Cosmetical Uses in Four Rhodophyta // Marine drugs. 2020. V. 18. N. 27. 14 p.

4. Avino, P. High-perfomance liquid chromatography intercomparative study for amino acid analysis in two tissues by PITC- and OPA- derivatizations / P. Avino, L. Campanella, M. V. Russo // Analytical letters. – 2001. – V. 34. – No. 6. – pp. 867-882.